## Slide 1: GPU-based real-time DCS processing
M. Walsh, J. Genest, March 2024

## Slide 2: Software architecture
Python Interface
C++ console program
Main Thread
Processing Thread
TCP Commands/data
TCP
server
TCP
client
keyboard Commands
CUDA
kernels
MATLAB.exe
GaGe
Params
.json
A priori
Params
.json
computed
Params
.json
pre-acquisition
Save average igms to disk
Flow
ctl
Real-time ACQ
Save raw data to disk for later processing

## Slide 3: Algo flow: Fast corrections

## Slide 4: Algo flow: slow corrections

## Slide 5: Demo…